SECTION 01 50 00

TEMPORARY FACILITIES AND CONTROLS

Display hidden notes to specifier. (Don't know how? [Click Here](https://www.arcat.com/sd/display_hidden_notes.shtml))

*Copyright 2015 - 2025 ARCAT, Inc. - All rights reserved*

\*\* NOTE TO SPECIFIER \*\* This is a generic ARCAT specification provided in the style and format of all ARCAT manufacturer's specifications. The Notes to Specifier are intended to provide guidance in editing the text. Delete and add text as required for your individual project.

1. GENERAL
	1. SECTION INCLUDES

\*\* NOTE TO SPECIFIER \*\* Delete items below not required for project.

* + 1. Temporary Services: Provide temporary services and utilities, including payment of utility costs including the following.
			1. Water (potable and non-potable).
			2. Lighting and power.
			3. Metering.
			4. Telephone.
			5. Toilet facilities.
			6. Materials storage.
		2. Construction Facilities: Provide construction facilities, including payment of utility costs including the following.
			1. Construction equipment.
			2. Dewatering and pumping.
			3. Enclosures.
			4. Heating.
			5. Lighting.
			6. Elevator.
			7. Access.
			8. Roads.
		3. Security and Protection: Provide security and protection requirements including the following.
			1. Fire extinguishers.
			2. Site enclosure fence, barricades, warning signs, and lights.
			3. Building enclosure and lock-up.
			4. Environmental protection.
			5. Pest control during and at the end of construction.
			6. Snow and ice removal if applicable.
		4. Personnel Support: Provide personnel support facilities including the following.
			1. Architect's field office with telephone, fax and data connection.
			2. Contractor's field office.
			3. Sanitary facilities.
			4. Drinking water.
			5. Project identification sign.
			6. Cleaning.
1. PRODUCTS - Not applicable to this Section
2. EXECUTION - Not applicable to this Section

END OF SECTION