SECTION 10 57 00

COAT RACK SYSTEMS

Display hidden notes to specifier. (Don't know how? Click Here)

Copyright 2021 -    2023 ARCAT, Inc. - All rights reserved

** NOTE TO SPECIFIER ** HangSafe Hooks; coat hooks, coat racks, shelving.
This section is based on the products of HangSafe Hooks, which is located at:<BR />165 E. Hwy. CC<BR />Nixa, MO 65714<BR />Toll Free Tel: 888-803-7403<BR />Tel: 417-725-8900<BR />Fax: 417-725-8901<BR />Email: request info (sales@hangsafehooks.com)
Web: https://www.hangsafehooks.com    
 [ Click Here ] for additional information.
We provide flat-profile, virtually unbreakable coat hooks and fully-assembled, wall mounted coat racks for interior or exterior use. Specifying HangSafe Hooks for your project is simple. In addition to the resources below, contact us for custom design assistance.

- GENERAL

  - SECTION INCLUDES

** NOTE TO SPECIFIER ** Delete items below not required for project.

    - HangSafe Vibrant Racks - Coat and Backpack Racks with high density recycled polyethene mounting boards.

    - HangSafe Racks - Coat and Backpack Racks with solid wood mounting boards.

  - RELATED SECTIONS

** NOTE TO SPECIFIER ** Delete any sections below not relevant to this project; add others as required.

    - Section 04 20 00 - Unit Masonry.

    - Section 06 10 00 - Rough Carpentry.

    - Section 09 28 13 - Cementitious Backing Boards.

  - SUBMITTALS

    - Submit under provisions of Section 01 30 00 - Administrative Requirements.

    - Product Data:

      - Manufacturer's data sheets on each product to be used.

      - Preparation instructions and recommendations.

      - Storage and handling requirements and recommendations.

      - Typical installation methods.

    - Shop Drawings: For each type. Include spacing of mounting holes.

  - QUALITY ASSURANCE

    - Source Limitations: Provide each type of product from a single manufacturing source to ensure uniformity.

  - DELIVERY, STORAGE, AND HANDLING

    - Store and handle in strict compliance with manufacturer's written instructions and recommendations.

    - Protect from damage due to weather, excessive temperature, and construction operations.

  - PROJECT CONDITIONS

    - Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results.

    - Do not install products under environmental conditions outside manufacturer's recommended limits.

  - WARRANTY

    - Manufacturer's Warranty: Provide manufacturer's standard lifetime warranty against defects in manufacturing.

- PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer: HangSafe Hooks, which is located at:<BR />165 E. Hwy. CC<BR />Nixa, MO 65714<BR />Toll Free Tel: 888-803-7403<BR />Tel: 417-725-8900<BR />Fax: 417-725-8901<BR />Email: request info (sales@hangsafehooks.com);Web: https://www.hangsafehooks.com

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

    - Substitutions: Not permitted.

    - Requests for substitutions will be considered in accordance with provisions of Section 01 60 00 - Product Requirements.

** NOTE TO SPECIFIER ** Delete if not required.

  - HANGSAFE VIBRANT RACKS - COAT AND BACKPACK RACKS WITH RECYCLED HIGH DENSITY POLYETHYLENE MOUNTING BOARD

    - Coat and Backpack Racks with Recycled High Density Polyethylene Mounting Board: Vibrant Racks by HangSafe Hooks.

** NOTE TO SPECIFIER ** Delete application not required.

      - Application: Indoor.

      - Application: Outdoor.

      - Hooks: Polycarbonate plastic with polished rounded ends and eased edges.

** NOTE TO SPECIFIER ** Hook spacing of 5-1/3 inches is the most economical choice, 6.4 inch spacing allows for bigger backpacks and bulky coats (most popular choice), 8 inch spacing is for larger coats and heavy backpacks, 10-2/3 inch spacing is the most spacious option. Delete hook spacings not required.

      - Hook Spacing: 5-1/3 inches (135 mm).

      - Hook Spacing: 6.4 inches. (162 mm).

      - Hook Spacing: 8 inches (203 mm).

      - Hook Spacing: 10-2/3 inches (270 mm).

      - Attachment: No. 14 by 2 inch (51 mm) stainless steel Philips oval head screws and finishing washers. Provide finishing button to conceal screws.

      - Mounting Boards: High density recycled polyethylene with solid color throughout and UV inhibitors, approximately 1-9/16 inches (40 mm) by 3-1/2 inches (89 mm). Provide manufacturer's standard connectors for continuous lengths.

** NOTE TO SPECIFIER ** Delete colors not required.

      - Recycled Polyethylene Color: Antique Mahogany.

      - Recycled Polyethylene Color: Aqua Blue.

      - Recycled Polyethylene Color: Birchwood.

      - Recycled Polyethylene Color: Black.

      - Recycled Polyethylene Color: Cardinal Red.

      - Recycled Polyethylene Color: Cedar.

      - Recycled Polyethylene Color: Driftwood.

      - Recycled Polyethylene Color: Dark Brown.

      - Recycled Polyethylene Color: Dark Green.

      - Recycled Polyethylene Color: Ivory.

      - Recycled Polyethylene Color: Light Brown.

      - Recycled Polyethylene Color: Light Grey.

      - Recycled Polyethylene Color: Lime Green.

      - Recycled Polyethylene Color: Maroon.

      - Recycled Polyethylene Color: Orange.

      - Recycled Polyethylene Color: Patriot Blue.

      - Recycled Polyethylene Color: Purple.

      - Recycled Polyethylene Color: Royal Blue.

      - Recycled Polyethylene Color: Slat Grey.

      - Recycled Polyethylene Color: White.

      - Recycled Polyethylene Color: Yellow.

** NOTE TO SPECIFIER ** Delete if not required.

      - Individual Hook Numbering: Required.

** NOTE TO SPECIFIER ** Delete if not required.

  - HANGSAFE RACKS - COAT AND BACKPACK RACKS WITH SOLID WOOD MOUNTING BOARD

    - Coat Racks with Solid Wood Mounting Board: Solid Wood Racks by HangSafe Hooks.

      - Application: Indoor (only).

      - Hooks: Polycarbonate plastic with polished rounded ends and eased edges.

** NOTE TO SPECIFIER ** Hook spacing of 5-1/3 inches is the most economical choice, 6.4 inch spacing allows for bigger backpacks and bulky coats (most popular choice), 8 inch spacing is for larger coats and heavy backpacks, 10-2/3 inch spacing is the most spacious option. Delete hook spacings not required.

      - Hook Spacing: 5-1/3 inches (135 mm).

      - Hook Spacing: 6.4 inches. (162 mm).

      - Hook Spacing: 8 inches (203 mm).

      - Hook Spacing: 10-2/3 inches (270 mm).

      - Attachment: No. 14 by 2 inch (51 mm) stainless steel Philips oval head screws and finishing washers. Provide finishing button to conceal screws.

** NOTE TO SPECIFIER ** Delete mounting boards option not required.

      - Mounting Boards: Two layers of 3/4 inch (19 mm) maple, approximately 1-9/16 inches (40 mm) by 3-1/2 inches (89 mm). Provide manufacturer's standard connectors for continuous lengths.

        - Finish: Two protective coats of polyurethane.

      - Mounting Boards: Two layers of 3/4 inch (19 mm) solid oak, approximately 1-9/16 inches (40 mm) by 3-1/2 inches (89 mm). Provide manufacturer's standard connectors for continuous lengths.

        - Finish: Stain and two protective coats of polyurethane.

** NOTE TO SPECIFIER ** Delete stain colors not required.

        - Stain Color: Cherry.

        - Stain Color: Classic Grey.

        - Stain Color: Dark Walnut.

        - Stain Color: Ebony.

        - Stain Color: English Chestnut.

        - Stain Color: Golden Oak.

        - Stain Color: Maple.

        - Stain Color: Natural.

        - Stain Color: Pickled Oak.

        - Stain Color: Red Mahogany.

** NOTE TO SPECIFIER ** Delete if not required.

        - Individual Hook Numbering: Required.

- EXECUTION

  - INSTALLATION

    - Install in accordance with manufacturer's written instructions, approved submittals and in proper relationship with adjacent construction.

      - Tighten attachments to eliminate all movement.

      - Place finishing button in mounting pocket.

  - CLEANING AND PROTECTION

    - Clean and protect products in accordance with the manufacturer's recommendations.

    - Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION